In-situ Load Test of High Capacity Micropiles foundation

on mountain ground

Masao Sagara *

Kouichiro Shito** Yoshinori Igase** Gaku Ohashi**

Etsuro Saito* Terukatsu Sasaya* Toshihisa Hatano*

Yoshito Maeda***

* FUJITA Corporation, Technology Development Division

** Japan Highway Public Corporation

***Professor of Kyushu Kyoritsu University, Development of Civil Engineering

Abstract

In general, the caisson type pile method is used on the mountain ground. However, there are some problems in the caisson type pile method. The High Capacity Micropiles method is expected as a method of taking the place of the caisson type pile method. This Paper describes “In-situ Load Test of High Capacity Micropiles foundation on mountain ground”. The following findings were obtained by the experiment.

- It is possible to construct HMP in the bedrock ground. It has enough bearing capacity.

- The Bearing capacity is transmitted from the upper part to the lower side. End bearing capacity of HMP was confirmed.

- The Bearing capacity is transmitted from the upper part to the lower side.

- More batter piles than the straight piles are stronger.

- Constructed HMP toe was confirmed by watching.

§1. Introduction

In general, the caisson type pile method is used on the mountain ground. The caisson type pile has the problem in construction such as needing the installation of the digging machine on a narrow site. Moreover, there is a problem in the environmental, which should be dispose of the dug gravel etc., too.

On the other hand, the High Capacity Micropiles method is known generically of the cast-in-place pile of 300mm or less. The construction machine of the High Capacity Micropiles method is small. It is suitable for construction on a narrow site. Because the diameter of High Capacity Micropile is small, the digging soil volume is also comparatively few. It is an expected method as a foundation pile in the mountain ground. We are researching for High Capacity Micropiles method (hereafter, HMP) which uses the high strength steel pipe, the deformed bar, and the grout material. We have aimed to examine the applicability of HMP on the mountain ground. I reported on “Lateral Loading Test for a Model of Micropiles Foundation on slope ground" in IWM 2001. This Paper describes “In-situ Load Test of High Capacity Micropiles foundation on mountain ground” and “ Confirmation of constructed HMP toe ”.

| Table 1 The material of HMP |
| --- |
| material | specification |
| Steel pipe | The high strength steel pipe (API-N80)、Outside diameter =φ177.8mm, Thickness =12.7mm, Standard length =1,500mm, Yield Strength =550N/mm2, Elasticity coefficient =2.0×105N/mm2, |
| Deformed bar | Yield Strength =490N/mm2(SD490) Calling diameter=51mm(D51), Elasticity coefficient =2.0×105N/mm2, |
| Grouting | Cement（cement water ratio W/C=50%）, High-early-strength portland cement, Design Strength=30N/mm2, Elasticity coefficient =1.36×104/mm2（result of test） |
| Bond of HMP | Drilling diameter 205mm, Bond length=4000㎜(vertical pile),4061㎜(batter pile), |

§2. Test pile of HMP and Ground Condition

Figure2　Test Piles

The material of HMP is shown in Table1. The load test of HMP was done in the bedrock ground on the Nakaissiki bridge construction site in the second Toumei expressway of Japan Highway Public Corporation. After the load test of HMP, caisson type pile of 13.5m in diameter and 16.5m in depth will be constructed in the place. Therefore, there is no problem even if HMP is dug up. The outline of geological column and the test pile of HMP are shown in Figure1. The stratum up to -1.17m in the underground is weathering mudstone like the sand of the clay mixing. As for the stratum from -1.17m in the underground to -2.8m, weathering becomes weak more than stratums located up. However, it is weak mudstone, which has a lot of crack, and becomes crushed gravel easily. The rock from -2.8m in the underground to -5.6m is fresh. However, there are some cracks. The stratum at deeper position than -5.6m in the underground is fresh mudstone with little weathering.

Fig.3 The relation of load-vertical displacement

Fig.4 The axis force

Fig.5 The relation between skin friction stress and displacement

§3. Outline of the Loading Test for the HMP

The test piles of the full-scale HMP were constructed, and vertical loading test, alternating vertical loading test, alternating lateral loading test, alternating lateral loading test for a couple of batter piles were done. Details of the test piles of HMP are shown in Figure2. The confirmation of the constructed paling targeted healthy anchor piles. Healthy anchor piles were targeted for the confirmation of the constructed HMP. HMP were dug up by the casing drilling of 600 ㎜ diameter.

We confirmed HMP toe by watching.

§4. Result of The Loading Test

4.1　Vertical Loading Test

Figure 3 shows the relation of load-vertical displacement. The vertical yield bearing capacity is 2100kN when the pile top displacement is 12.4㎜. The vertical ultimate bearing capacity is 4100kN when the pile top displacement is 60.0㎜. 60 ㎜ is the amounts of the displacement of about 30% of the diameter of HMP. The surroundings area of bond length, counted divides ultimate bearing capacity, and the obtained value is skin friction stress. Skin friction stress of the average is 1524kN/m2. This value corresponds to skin friction stress of hard rock in the ground anchor standard (The Japanese Geotechnical Society). The axis force chart is shown in Figure4. The value with a very big warp was indicated in the boundary part of the steel pipe and the deformed bar (⑥ from section ⑤) while becoming near yield bearing capacity. Because it seemed an abnormal value, the revised value is indicated in figure. It is understood that bearing capacity is supported with bond part of 5-8m in depth. And, we understood that bearing capacity is transmitted from the upper part to pile toe in bond part of HMP. The axis force of about 800kN was confirmed in the pile toe, and end-bearing capacity of HMP was confirmed in the bedrock ground when it is the vertical ultimate bearing capacity. The relation between skin friction stress and displacement is shown in Figure5. Skin friction stress indicates a big value in ⑦-⑧ section and ⑧-⑨section at the vertical ultimate bearing capacity, and it is understood that the HMP is supported in ⑦-⑧ section.

Fig.6 Result of alternating vertical loading test

Fig.7 skin friction stress and the amount of relative displacement

4.2　Alternating Vertical Loading Test

Result of alternating vertical loading test is shown in Figure6. Both the pulling yield bearing capacity and the pushing yield bearing capacity is 1200kN. Pulling resistance of HMP is 1800kN when the pile top displacement is 20㎜. It is the amounts of the displacement of about 10% of the diameter of HMP. When pulled when the paling is pushed, the inclination of stress-displacement is equal. The relation between skin friction stress and the amount of relative displacement at the time of pulling out is shown in Figure7. Skin friction stress increases in ⑦-⑧ section and ⑧-⑨ section while the amount of relative displacement is large, and skin friction stress has decreased in ⑤-⑥ section and ⑥-⑦ section when it is pulling yield bearing capacity in Figure7. It is understood that the bearing capacity has moved from the upper part of bond of HMP to pile toe when the paling is pulled out.

Table2　 The diameter of the HMP toe

| Measurement position (Distance from HMP toe)cm | Surroundings (cm) | Diameter (cm) |
| --- | --- | --- |
| (Grout & Deformed bar) (24cm) | ----- | 24 |
| (Pipe&Grout & Deformed bar) (3.5m) | 93 | 29.6 |
| (Pipe&Grout & Deformed bar) (4m) | 94 | 29.9 |

Photograph1 Constructed HMP toe

4.3　Alternating Lateral Loading Test & Alternating Lateral Loading Test for a couple of batter piles

Fig.8 Lateral load-Horizontal displacement

Result of alternating lateral loading test and alternating lateral loading test for a couple of batter piles is shown in Figure8. In the model test (batter pile angle was 15°) of last year, if the number of the pile is the same, it is confirmed that the batter piles have about three times the horizontal bearing capacity than the vertical piles. It is confirmed that the batter piles have about eight times the horizontal bearing capacity than the vertical piles though the batter pile angle is 10° in this test.

4.4 Confirmation by watching constructed HMP

The diameter of the HMP of 24 ㎝ is confirmed in the pile toe. On the other hand, the diameter of the HMP of about 30cm was confirmed in the bond part, which included the steel pipe (Table2 and photograph1 reference). These values are larger than dug diameter (205 ㎜). It is thought that the extension of the dug hole was secured by the pressed grouting.

§5. Conclusions

The following have been understood from this in-site load test.

- It was confirmed to be able to construct HMP, and to have enough bearing capacity in the bedrock.

- It is understood that the bearing capacity has moved from the upper part of bond of HMP to pile toe.

- End bearing capacity of HMP was confirmed in the bedrock ground.

- The horizontal bearing capacity of batter pile is larger than the vertical pile.

- The bond of HMP was surely constructed by watching in the bedrock ground.

# Text boxes

Figure1　The outline of geological column and the test pile of HMP